## Slide 1: MDL Tutorial Analysis
Jaylen Powell
Research Methods

## Slide 2: Fluorometry
Residual Effects
Noise
Inaccurate readings

## Slide 3: Method Detection Level
The lowest concentration that can be reported at 99% confidence level.
MDL = “Standard deviation of lowest 7 samples” X “Critical t- value”

## Slide 4: Other options…
Lower Detection Limit (LDL)
  Represent lowest concentration of a substance
Limit of Quantification (LOQ)
  Typically higher than the LDL based on signal-to-noise ratio, linearity,, and reproducibility
Practical Quantification Limit (PQL)
  Accounts for instrument precision, sample matrix effects, and desired level of confidence
Instrument Detection Limit (IDL)
  Doesn’t consider sample-specific factors, based on instrument’s sensitivity and detection capabilities

## Slide 5: Why MDL?
Statistical Rigor
  Using the lowest concentrations’ values and dF from Student’s t-test makes MDL have a more reliable threshold
Specific to instrument
  MDL values are calculated based on the instrument’s performance with low concentration samples
Quantitative threshold
  Able to distinguish between true signal and noise.

## Slide 6: Comparing Data to …

## Slide 7: Install Packages

## Slide 8: Finding The File…

## Slide 9: Finding MDL @ 99% Confidence

## Slide 10: Compare R to Excel

## Slide 11: From this
Use R to double check formulas in Excel
Able to find MDL strictly through code
Find threshold for analytical instruments’ noise – signal ratio